THERMOscript 1st Strand

Tech : maozhang2000@hotmail.com

Tel: 8610-82796972  Mob: 13691030050

Web: www.aidlab.cn

Aidlab Biotech

cDNA Synthesis Kit

Technical Manual

| Components | PC4402 |
| --- | --- |
| THERMOscript Hˉ RTase/RNase Inhibitor Mix | 50 μl |
| 5X RT Reaction Mix | 200 μl |
| Oligo(dT)18(0.5 μg/μl) | 50 μl |
| Random primer (N6) | 50 μl |
| RNase free H2O | 1 ml |

| Cat # | Size |
| --- | --- |
| PC4402 | 50 applications |

Store：－20C , 1 year

Description

THERMOscript 1st Strand cDNA Synthesis Kit provides all the necessary components for cDNA synthesis from total RNA or mRNA. The cDNA is efficiently synthesized by THERMOScript Hˉ RTase /RI Mix and 5X RT Reaction Mix(dNTP included ).

• Increased thermostability up to 55C for more full-length cDNA products.

• Deficient RNase H activity to reduce RNA template degradation during the first-strand cDNA synthesis.

• cDNA up to 15 kb.

First Strand cDNA synthesis(20 μl reaction volume)

1. Add Componets according to table

| Components | Volume |
| --- | --- |
| Total RNA/mRNA | 50 ng-5 μg/5-500 ng |
| Oligo(dT)18(0.5 μg /μl) Or random Primer(0.1 μg/μl) Or GSP(Gene Specific Primer) | 1 μl |
|  | 1 μl |
|  | 2 pmol |
| 5X RT Reaction Mix | 4 μl |
| THERMOscript Hˉ RTase/RI Mix | 0.8μl |
| RNase free H2O to final volume | 20 μl |

Optional (if RNA template is GC-rich or is known to contain secondary structures). Suggest to mix RNA /Primer/RNase free H2O gently and briefly centrifuge, incubate at 65°C for 5 min, chill on ice and briefly centrifuge, then place the tube on ice. Add other components and continue.

2. Mix well gently

If Oligo(dT)18 or gene specific primer(GSP) are used, incubate at 50C for 30-50 min.

If Random Primer is used, incubate 10 min at 25°C followed by 30-50 min at 50°C.

3. Terminate the reaction by heating at 65°C for 15 min.

The reverse transcription reaction product can be directly used in PCR or stored at -20°C.

RT-PCR

Use 2-4 μl of the reaction mix to perform PCR in 50 μl volume.

PCR mixture set up (for 50 μl reaction volume)

| Components | Volume | Final Concentration |
| --- | --- | --- |
| cDNA Template | 2-4 μl | as required |
| Forward Primer (10 μM) | 1 μl | 0.2 μM each |
| Reverse Primer (10 μM) | 1 μl | 0.2 μM each |
| 10X Taq Buffer (contains Mg2+) | 5 μl | 1× |
| 2.5 mM dNTPs | 4 μl | 0.2 mM |
| Taq DNA Polymerase | 0.5 μl | 2.5 units |
| ddH2O to final volume | 50 μl | Not applicable |

PCR Condition

94C 2-5 min

94C 30 sec

50-60C 30 sec 30-40 cycles

72C 1-2 kb/min

72C 5-10 min