1kb ladder

Description

The 1 kb DNA Ladder contains 8 discrete DNA fragments ranging in size from 1kb bp to 10kb. This marker is suitable for sizing linear double-stranded DNA fragments. All bands (except 4kb) are supplied at approximately 40-50 ng/5μl. The 4kb are 100ng/5μl as a reference band. This ladder is pre-mixed with loading dye and is ready to use.

Concentration

Reference Band 100 ng/5μl, other Bands 40-50 ng/5μl

Storage

1 kb DNA Ladder is stable for at least 3 months at 4°C or room termerature. For long term storage, store at -20°C.

Recommended Loading

3-5 μl/Lane.

Recommended Electrophoresis Condition

5 μl/Lane, 0.6-1% Agarose Gel, 4-10V/cm.

Contents（bp）

1,000 、2,000、3,000、4,000、5,000、6,000、8,000、10,000